OT2 IR protocol

Fast shrew 2 hours

Laser set-up

Polish

Set to 1Hz  
blue -> brown -> green sandpaper  
use aiming beam

Set-up

Blue cable to yellow cable  
 turn on cart  
 brown box key ON  
 open VUE  
 turn off aiming beam when done polishing  
 put needle cap on laser tip

Animal

Set-up  
 shave neck and abdomen and sides  
 urethane 1mg/kg IP (0.5g in 5ml filtered saline)  
 then 0.2ml for maintenance doses  
 heat mineral oil to 38C

Trach tube