Acute OT2 Ferret Prep

Animal prep:

Clean shaver  
Clean iso chamber  
Check iso level  
Check O2 level  
Check number of O2 tanks  
Replace F/AIR  
Check sodasorb  
Nose cone  
Bottles of saline  
Plug in monitoring equipment  
Hook up BP transducer  
Find vertical bars

Surgery:  
  
3.0 and 3.5 ETT tubes ready  
2-0 ties  
PE10 and PE08 tube ready for BP  
Heparinized saline ready  
4-0 and 5-0 ties  
Find vessel clamps  
Cautery  
PtIr electrodes  
Stim hook ups  
Ripple equipment and laptop  
6-1 planars  
Nodose array inserter  
EKG leads and ground wires  
Heating pad filled and set up  
Sterilize PBS  
Stereotaxic setup  
Plug in laser equipment  
Polish and test laser calibration